## Sub Package-STR
Installation Charges |  |  |  | Schedule 3(RE-STR)
Sub Package - RE-STR (Re-Stringing Services for Panighata - Kishanganj portion of 400 kV Teesta III HEP – Kishanganj Quad D/C Transmission Line)
Price Break-up of Re-Stringing Charges for Panighata - Kishanganj portion (Plains)
All Values in Indian Rupees
| Bidder’s Name and Address: | To: Teestavalley Power Transmission Limited, 2nd Floor, Vijaya Building, Barakhamba Road, Connaught Place, New Delhi- 110001.
Price Break-down for individual items for Package-Re-STR
1 | 2 | 3 | 4 | 5 | 6
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges (4x5)
1 | Installation of Stringing of phase having four conductors complete with fixing of conductor accessories along with fixing of arcing horns & necessary hardware, for Double Circuit (QUAD) line | Phase Km | 128
2 | Checking of Towers for completion and bolts & nuts tightening | Nos. | 10
3 | Bolts & nuts tack welding for towers involving Stringing. | Nos. | 10
4 | Fixing of missing/damaged spacer dampers in the Stringing spans for conductor | Nos. | 531
5 | Fixing of of missing/damaged Jumpers, rigid spacer spacer, vibration damperss, coran ring, arcing horn of towers and any item of missing/damaged of hardwrae string.(per tower) | Nos. | 30
6 | Instalation of Pipe Earthing of towers | Nos. | 20
7 | Installation of the follwing tower accessories
i) | Danger Plate | Nos | 262
ii) | Number Plate | Nos | 262
iii) | Phase Plate(Set of Three) | Sets | 524
iv) | Circuit Plate (Set of two) | Sets | 262
v) | Anti Climbing Device | Nos | 262
vi) | Bird Guard (Set of Three) | Sets | 50
8 | Transportation and placing of missing members in the towers involving stringing | MT | 10
Powergrid SOR rate
a) | Double Circuit (QUAD) line | km | 23
|  | Difference in cost | #REF!
Note:
1 | In case of discrepancy between unit price and total, the unit price shall prevail.
2 | Above mentioned erection charges are inclusive of all taxes such as GST etc.