## Sc-1(Plains) (hidden)
Tower Package-A1 for 400kV D/C (Quad) Teesta III HEP- Panighata Transmission Line associated with 1200 MW Teesta III HEP.
(Price Break-up of Ex-Works Price)
Bidder's Name & Address: | [8 empty] | To:
Teestavalley Power Transmission Limited, 143-144, Udyog Vihar Phase IV, Gurgaon 122015. (Haryana )
Price Break-down for individual items for Transmission LineTower Package (Package-A1)
(Bidder shall quote prices for the following mentioned items. Prices of all accessories, assemblies, components, parts etc. associated with these items are included in bidder's quoted prices for these items).
All values are in Indian Rupees.
1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 8 |  |  |  | 9
SI. No. | Item Description | Unit | Qty. | Unit Ex-works price | Total Ex-works price | Mode of Transaction (Direct or Bought-out items) | Total taxes & Duties applicable for transaction between bidder and Owner and not included in the price at Column (6). (For bought-out items, taxes & duties ( Other than Octroi & Entry tax )are invariably included in the price quoted at Column-6). |  |  |  |  | Applicable Octroi / Entry tax for bought-out finished items dispatched directly from our sub-vendor's works
[7 empty] | Sales Tax | Excise duty | Other levies |  |  | Octroi | Entry Tax
[9 empty] | Octroi | Entry Tax | Other (Specify)
1 | Tower
1.1 | Fabrication, galvanising and supply of various types of towers, & its body / leg (equal & unequal) extensions (complete) excluding stubs and bolts & nuts but including hangers, D-shackles, pack washer etc. (payment shall be released for identified MT for complete tower)
i) | High Tensile Steel | MT | 3069
ii) | Mild Steel | MT | 1461
1.2 | Fabrication, galvanising & supply of stubs for various types of towers with pack washers excluding supply of bolts & nuts
i) | High Tensile Steel | MT | 10
ii) | Mild Steel | MT | 1
1.3 | Supply of Bolts & Nuts for towers except for stubs
a) | Hex. Bolts & Nuts including Step Bolts | MT | 322
b) | Anti Theft bolts & nuts | MT | 21
1.4 | Supply of Bolts & Nuts for stubs including plain washers | MT | 1
2 | Supply of Earthing of Towers
i) | Pipe Type | Nos. | 2
ii) | Counterpoise Type
| a) 120 meter length | Nos. | 28
| b) 280 meter length | Nos. | 4
iii) | Earthing for River Crossing locations (Pile foundations) | MT | 3
3 | Supply of following Tower Accessories
i) | Danger Plate | Nos. | 570
ii) | Number Plate | Nos. | 570
iii) | Phase Plate (Set of three) | Sets | 1140
iv) | Circuit Plate (Set of two) | Sets | 570
v) | Anti-Climbing Device | Nos. | 570
vi) | Bird Guard (Set of three) | Sets | 162
4 | Supply of following items for aviation requirements
i) | Span markers | Nos. | 12
ii) | Obstruction lights (to be provided as per IS:5613)
| a) 1 Medium + 2 Low intensity | Sets | 12
5 | Supply of wind measuring equipment | Sets | 4
6 | Design, manufacture and supply of following line material items
6.1 | GS Earthwire-7/3.66 mm | km | 10
6.2 | Hardware Fittings
i) | Double 'I' Suspension Insulator String for Quad ACSR Moose conductor (suitable for 2x23, 120kN Disc Insulators or 2x3, 120kN Longrod insulators) | Sets | 10
ii) | Single Suspension Pilot Insulator String for Quad ACSR Moose conductor (suitable for 1x26, 120kN Disc Insulators or 1x3, 120kN Longrod Insulators) | Sets | 367
iii) | Single Tension Insulator String for Quad ACSR Moose conductor (suitable for 1x26, 120kN Disc Insulators or 1x3, 120 kN Long rod Insulators) | Sets | 8
iv) | Quadruple Tension Insulator String for Quad ACSR Moose conductor (suitable for 4x25, 160kN Disc Insulators or 4x3, 160kN Long rod Insulators) | Sets | 798
6.3 | Accessories for Conductor & Earthwire
i) | Mid Span Compression Joint for ACSR MOOSE conductor | Nos. | 211
ii) | Mid Span Compression Joint for 7/3.66 mm GS Earthwire | Nos. | 8
iii) | Repair Sleeve for ACSR MOOSE conductor | Nos. | 172
iv) | T-connector for ACSR MOOSE conductor | Nos. | 10
v) | Flexible Copper Bond for 7/3.66 mm GS Earthwire | Nos. | 249
vi) | Vibration Damper for 7/3.66 mm GS Earthwire | Nos. | 118
vii) | Quad Spacer Damper for ACSR Moose Conductor | Nos. | 100
viii) | Quad Rigid spacer for ACSR Moose Conductor | Nos. | 3780
ix) | Suspension Clamp for 7/3.66 mm GS Earthwire | Nos. | 10
x) | Tension Clamp for 7/3.66 mm GS Earthwire | Nos. | 153
TOTAL
Date: | [7 empty] | (Signature)
Place: | [7 empty] | (Printed Name)
(Designation)
(Common Seal)
Note:
1 | In case of discrepancy between unit price and total, the Unit price shall prevail.
2 | Continuation sheet of like size and format may be used as per the requirement of the Bidder and shall be annexed to the schedule.

## Sc-1(R)
Sub package Earth Cutting Works for 400kV D/C Quad Teesta III HEP – Kishanganj Transmission Line
Price Break-up of Earth Cutting Works in South Sikkim for 400kV D/C Quad Teesta III HEP – Kishanganj Transmission Line
Bidder's Name & Address |  |  |  | To:
Teestavalley Power Transmission Limited, 2nd Floor, Vijaya Building, Barakhamba Road, New Delhi - 110001
Price Break-down for individual items for Sub Package Earth Cutting Works
(Bidder shall quote prices for the following mentioned items)
All Values in Indian Rupees
1 | 2 | 3 | 4 | 5 | 6
SI. No. | Description | Unit | Quantity | Unit Erection Charges | Total Erection Charges (4x5)
1 | Benching
| (i) All Kinds of Soil/ Dry Fissured Rock/ Wet Fissured Rock/ Hard Rock/Boulders etc. | Cum | 14115
| TOTAL |  | 14115
Date : |  |  | (Signature) ......................................................
Place : |  |  | (Printed Name) ................................................
(Designation) ...................................................
(Common Seal) ………………………..……….
Note:
1 | In case of discrepancy between unit price and total, the Unit price shall prevail.
2 | Continuation sheet of like size and format may be used as per the requirement of the Bidder and shall be annexed to the schedule.
2 | Above mentioned erection charges are inclusive of all taxes such as GST etc.

## Sheet2
849.91
|  | 3862.8 |  | 142.24
142/0 |  |  |  | 0.15
0.6
0.25
142 | NS | 0.15935 | 15.9348
| DFR | 0.59046 | 59.0458
| HR | 0.25019 | 25.0194
| NS | 0.13 | 12.9999
126 | DFR | 0.62 | 62.0001
| HR | 0.25 | 25
| NS | 0.16 | 16
134 | DFR | 0.59 | 59
| HR | 0.25 | 24.9999